## Overview
Marinus link economic evaluation
This workbook evaluates the net market benefits of Marinus Link project options under 5 different scenarios.
All values shown are present value net market benefits at 2019, expressed in 2019 millions of dollars
The options are defined in the table below.
Marinus Link Options |  | Scenario
Option 1: 750 MW in 2027 and 750 MW in 2030 |  | Slow Change
Option 2: 750 MW in 2028 and 750 MW in 2031 |  | Central
Option 3: 750 MW in 2031 and 750 MW in 2034 |  | High DER
Option 4: 750 MW in 2034 and 750 MW in 2037 |  | Fast Change
Step Change
Discount rate |  | Note - The discount rate used in this workbook is aligned
Discount rate (real, pre-tax), all scenarios except slow | 5.9% | with the discount rate used by EY in their market modelling.
Discount rate (real, pre-tax), Slow Change scenario | 7.9% | It should not be changed unless a corresponding change is made to
the discount rate used in EY's market modelling.
Guide to worksheets
Information presented | Link to worksheet
The results of the evaluation, including the relevant tables that appear in the PADR | Results
Key inputs to the model:
· EY's estimates of market benefits | Market benefits
· GHD's estimates of FCAS benefits | FCAS benefits
· Marinus Link forecast capital and operating costs, and calculations of total annualised costs | Project costs
Option 1
Calculation of the net market benefits for | Option 2
each option under each of the four scenarios | Option 3
Option 4

## Results
Results
All values shown are present value net market benefits at 2019, expressed in 2019 millions of dollars
Summary of results
| Scenarios |  |  |  |  | Average
Marinus Link Options | Slow Change | Central | High DER | Fast Change | Step Change | All scenarios | except Slow Change
Option 1: 750 MW in 2027 and 750 MW in 2030 | -214.0159 | 639.1369 | 612.3869 | 789.3092 | 1598.8306 | 685.1296 | 909.9159
Option 2: 750 MW in 2028 and 750 MW in 2031 | -109.289 | 731.4848 | 701.571 | 838.3874 | 1615.4226 | 755.5154 | 971.7164
Option 3: 750 MW in 2031 and 750 MW in 2034 | 106.5829 | 871.3135 | 856.6583 | 905.9492 | 1581.7762 | 864.456 | 1053.9243
Option 4: 750 MW in 2034 and 750 MW in 2037 | 203.7061 | 776.3458 | 758.0842 | 828.2619 | 1308.7578 | 775.0312 | 917.8624

## FCAS benefits
FCAS benefits
The table below shows total FCAS annual benefits for the NEM, assuming the first increment of Marinus Link capacity is installed on 1 July 2026.
Amounts shown are expressed in 2019 dollars.
Source: GHD
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Year ending | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50
FCAS benefits ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15704394.7904 | 15788363.4995 | 15876122.6511 | 15961779.1313 | 16048292.1763 | 16135670.3518 | 16223922.309 | 16313056.7858 | 16403082.6074 | 16494008.6871 | 16585844.0277 | 16678597.7217 | 16772278.9526 | 16866896.9958 | 16962461.2195 | 17058981.0854 | 17156466.1499 | 17254926.0651 | 17354370.5795 | 17454809.539 | 17556252.8881 | 17658710.6706 | 17762193.031 | 17866710.215
FCAS benefits ($ M) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7044 | 15.7884 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059 | 17.1565 | 17.2549 | 17.3544 | 17.4548 | 17.5563 | 17.6587 | 17.7622 | 17.8667

## Project costs
Project cost data and calculation of annualised costs
Discount rate (all scenarios, except slow) | 5.9% | real pre-tax
Discount rate (slow scenario) | 7.9%
Summary of total annualised costs ($M)
Capacity (MW) | Stage 1 | Stage 1+2
1500 | 108.6918 | 217.3835
Central cost estimates
Yellow cells indicate inputs
Indicative annualised cost of Marinus link - 1500MW
750 MW stage 1 |  |  | 750 MW stage 2
DC assets |  |  | DC assets
P50 cost (inc CFCs) | 1335.7 | million | P50 cost (inc CFCs) | 1335.7 | million
Life | 40 | years | Life | 40 | years
Capital annuity | 82.7727 | million | Capital annuity | 82.7727 | million
Annual opex | 10.1403 | million | Annual opex | 10.1403 | million
Total annual cost | 92.9131 | million | Total annual cost | 92.9131 | million
AC assets |  |  | AC assets
P50 cost (inc CFCs) | 241.8 | million | P50 cost (inc CFCs) | 241.8 | million
Life | 60 | years | Life | 60 | years
Capital annuity | 13.9179 | million | Capital annuity | 13.9179 | million
Annual opex | 1.8608 | million | Annual opex | 1.8608 | million
Total annual cost | 15.7787 | million | Total annual cost | 15.7787 | million
Total annual cost for AC and DC assets | 108.6918 | million | Total annual cost for AC and DC assets | 108.6918 | million
Indicative annualised cost of Marinus link (1500 MW, Slow Change)
Discount rate | 7.9% | real pre-tax
600 MW stage 1 |  |  | 600 MW stage 2
DC assets |  |  | DC assets
P50 cost (inc CFCs) | 1335.7 | million | P50 cost (inc CFCs) | 1335.7 | million
Life | 40 | years | Life | 40 | years
Capital annuity | 102.7004 | million | Capital annuity | 102.7004 | million
Annual opex | 10.1403 | million | Annual opex | 10.1403 | million
Total annual cost | 112.8407 | million | Total annual cost | 112.8407 | million
AC assets |  |  | AC assets
P50 cost (inc CFCs) | 241.8 | million | P50 cost (inc CFCs) | 241.8 | million
Life | 60 | years | Life | 60 | years
Capital annuity | 17.8904 | million | Capital annuity | 17.8904 | million
Annual opex | 1.8608 | million | Annual opex | 1.8608 | million
Total annual cost | 19.7512 | million | Total annual cost | 19.7512 | million
Total annual cost for AC and DC assets | 132.5919 | million | Total annual cost for AC and DC assets | 132.5919 | million

## Option 1
Option 1 - Net Market Benefit evaluation
Option 1: 750 MW in 2027 and 750 MW in 2030
Discount rate= | 5.9% | (all scenarios, except slow)
| 7.9% | (Slow Change scenario)
All values shown are $ millions expressed in 2019 terms
Option 1: 750 MW in 2027 and 750 MW in 2030
Scenario: | Slow Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.92659 | 0.85875 | 0.79588 | 0.7376 | 0.68346 | 0.63342 | 0.58704 | 0.54406 | 0.50412 | 0.46721 | 0.433 | 0.4013 | 0.37184 | 0.34462 | 0.31939 | 0.296 | 0.27427 | 0.25419 | 0.23558 | 0.21833 | 0.20231 | 0.18749
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.0067488 | -0.050817 | -0.047165 | -0.027365 | -0.15349 | -0.2976 | 13.3949 | 15.391 | 17.8543 | 27.6736 | 41.8506 | 94.4357 | 47.989 | 47.0937 | 57.4367 | 58.6468 | 86.3328 | 89.7303 | 85.0821 | 74.6245 | 85.9659
Market benefits (undiscounted) | 0 | 0 | -0.0078589 | -0.063851 | -0.063943 | -0.040039 | -0.24233 | -0.50695 | 24.6202 | 30.5304 | 38.2145 | 63.9106 | 104.287 | 253.9668 | 139.2528 | 147.4504 | 194.0413 | 213.8264 | 339.6365 | 380.8893 | 389.6902 | 368.8709 | 458.5015
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7884 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.0078589 | -0.063851 | -0.063943 | -0.040039 | -0.24233 | -0.50695 | 40.4085 | 46.4065 | 54.1763 | 79.9589 | 120.4226 | 270.1907 | 155.5658 | 163.8535 | 210.5353 | 230.4122 | 356.3151 | 397.6616 | 406.5571 | 385.8334 | 475.5605
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132.5919 | 132.5919 | 132.5919 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838
PV total benefits | 2019-07-01: 925.2218
PV total costs | 2019-07-01: 1139.2377
Net market benefit | 2019-07-01: -214.0159
Option 1: 750 MW in 2027 and 750 MW in 2030
Scenario: | 2019-07-01: Central
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.032904 | -6.2694 | -4.0244 | -2.277 | -5.2449 | -14.9517 | 17.4916 | 37.6866 | 42.6968 | 61.7418 | 109.1462 | 163.9091 | 134.4815 | 140.7645 | 158.6335 | 133.8576 | 172.1277 | 155.9861 | 140.0127 | 177.4356 | 146.3171
Market benefits (undiscounted) | 0 | 0 | -0.036907 | -7.447 | -5.0624 | -3.0337 | -7.4003 | -22.3408 | 27.6779 | 63.162 | 75.7809 | 116.0485 | 217.2526 | 345.56 | 300.247 | 332.817 | 397.1944 | 354.9893 | 483.4138 | 463.9275 | 440.9889 | 591.923 | 516.9106
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7884 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.036907 | -7.447 | -5.0624 | -3.0337 | -7.4003 | -22.3408 | 43.4662 | 79.0381 | 91.7427 | 132.0968 | 233.3883 | 361.7839 | 316.5601 | 349.22 | 413.6884 | 371.5751 | 500.0924 | 480.6998 | 457.8558 | 608.8854 | 533.9695
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1866.2046
PV total costs | 2019-07-01: 1227.0677
Net market benefit | 2019-07-01: 639.1369
Option 1: 750 MW in 2027 and 750 MW in 2030
Scenario: | 2019-07-01: High DER
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.049313 | -8.5484 | -6.7171 | -4.5954 | -23.1377 | -7.892 | 14.1901 | 25.1496 | 30.9474 | 82.63 | 100.7971 | 170.4176 | 134.1582 | 147.7573 | 163.4883 | 123.6828 | 170.4821 | 148.4477 | 142.7883 | 171.9975 | 156.744
Market benefits (undiscounted) | 0 | 0 | -0.055313 | -10.154 | -8.4495 | -6.1227 | -32.6461 | -11.7922 | 22.4538 | 42.1502 | 54.9273 | 155.3094 | 200.6339 | 359.2815 | 299.5252 | 349.3503 | 409.3501 | 328.0059 | 478.7922 | 441.5072 | 449.731 | 573.7814 | 553.7468
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7884 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.055313 | -10.154 | -8.4495 | -6.1227 | -32.6461 | -11.7922 | 38.2422 | 58.0263 | 70.889 | 171.3577 | 216.7696 | 375.5054 | 315.8383 | 365.7534 | 425.8441 | 344.5918 | 495.4708 | 458.2795 | 466.5979 | 590.7439 | 570.8058
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1839.4546
PV total costs | 2019-07-01: 1227.0677
Net market benefit | 2019-07-01: 612.3869
Option 1: 750 MW in 2027 and 750 MW in 2030
Scenario: | 2019-07-01: Fast Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.21592 | -0.19897 | -0.41977 | -10.4278 | -10.4529 | -30.0498 | 46.3795 | 88.5953 | 77.848 | 87.15 | 88.245 | 149.1983 | 135.4867 | 165.8898 | 172.9071 | 153.149 | 152.5859 | 158.1951 | 137.5624 | 183.581 | 164.6526
Market benefits (undiscounted) | 0 | 0 | -0.24219 | -0.23635 | -0.52804 | -13.8934 | -14.7485 | -44.9004 | 73.3888 | 148.4837 | 138.1694 | 163.8051 | 175.6493 | 314.5459 | 302.4913 | 392.2219 | 432.9334 | 406.1499 | 428.5316 | 470.4974 | 433.2714 | 612.4239 | 581.6863
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7884 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.24219 | -0.23635 | -0.52804 | -13.8934 | -14.7485 | -44.9004 | 89.1772 | 164.3599 | 154.1311 | 179.8534 | 191.785 | 330.7699 | 318.8044 | 408.625 | 449.4274 | 422.7358 | 445.2102 | 487.2697 | 450.1383 | 629.3864 | 598.7453
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 2016.3769
PV total costs | 2019-07-01: 1227.0677
Net market benefit | 2019-07-01: 789.3092
Option 1: 750 MW in 2027 and 750 MW in 2030
Scenario: | 2019-07-01: Step Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | 1.9229 | 0.9697 | 1.0488 | 24.6549 | -11.2381 | 75.2645 | 97.8666 | 115.3309 | 117.5915 | 114.1172 | 123.004 | 207.1537 | 189.1926 | 206.0512 | 201.7475 | 176.3027 | 218.8775 | 209.2175 | 224.0591 | 212.8275 | 213.2197
Market benefits (undiscounted) | 0 | 0 | 2.1568 | 1.1518 | 1.3193 | 32.8488 | -15.8564 | 112.46 | 154.8598 | 193.292 | 208.7086 | 214.4921 | 244.8361 | 436.73 | 422.3966 | 487.1778 | 505.1454 | 467.5534 | 614.7088 | 622.2463 | 705.7043 | 709.9899 | 753.2649
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7884 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | 2.1568 | 1.1518 | 1.3193 | 32.8488 | -15.8564 | 112.46 | 170.6482 | 209.1681 | 224.6704 | 230.5404 | 260.9717 | 452.9539 | 438.7097 | 503.5809 | 521.6394 | 484.1393 | 631.3874 | 639.0186 | 722.5712 | 726.9524 | 770.3239
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 2825.8984
PV total costs | 2019-07-01: 1227.0677
Net market benefit | 2019-07-01: 1598.8306

## Option 2
Option 2 - Net Market Benefit evaluation
Option 2: 750 MW in 2028 and 750 MW in 2031
Discount rate= | 5.9% | (all scenarios, except slow)
| 7.9% | (Slow Change scenario)
All values shown are $ millions expressed in 2019 terms
Option 2: 750 MW in 2028 and 750 MW in 2031
Scenario: | Slow Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.92659 | 0.85875 | 0.79588 | 0.7376 | 0.68346 | 0.63342 | 0.58704 | 0.54406 | 0.50412 | 0.46721 | 0.433 | 0.4013 | 0.37184 | 0.34462 | 0.31939 | 0.296 | 0.27427 | 0.25419 | 0.23558 | 0.21833 | 0.20231 | 0.18749
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.0035775 | -0.028878 | -0.018755 | 0.0096338 | -0.1031 | -0.29623 | -0.28123 | 14.9055 | 17.9957 | 23.2807 | 42.0609 | 94.8629 | 48.1332 | 47.2483 | 57.747 | 58.768 | 86.6432 | 90.0288 | 85.0493 | 74.9882 | 85.6947
Market benefits (undiscounted) | 0 | 0 | -0.0041659 | -0.036284 | -0.025427 | 0.014096 | -0.16277 | -0.50462 | -0.5169 | 29.5672 | 38.5172 | 53.7654 | 104.811 | 255.1155 | 139.6713 | 147.9345 | 195.0899 | 214.2683 | 340.8576 | 382.1563 | 389.5399 | 370.6687 | 457.0552
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.0041659 | -0.036284 | -0.025427 | 0.014096 | -0.16277 | -0.50462 | -0.5169 | 45.4433 | 54.479 | 69.8137 | 120.9467 | 271.3395 | 155.9843 | 164.3376 | 211.5839 | 230.8542 | 357.5362 | 398.9286 | 406.4068 | 387.6312 | 474.1142
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132.5919 | 132.5919 | 132.5919 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838
PV total benefits | 2019-07-01: 900.3977
PV total costs | 2019-07-01: 1009.6867
Net market benefit | 2019-07-01: -109.289
Option 2: 750 MW in 2028 and 750 MW in 2031
Scenario: | 2019-07-01: Central
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.01946 | -1.9745 | -2.1265 | -2.4575 | -4.7415 | -13.9828 | -11.6529 | 34.2001 | 45.1277 | 53.7761 | 108.7535 | 164.3754 | 134.6759 | 142.0268 | 159.513 | 135.1788 | 173.2084 | 157.5006 | 140.9257 | 177.2253 | 145.7642
Market benefits (undiscounted) | 0 | 0 | -0.021828 | -2.3454 | -2.6749 | -3.2743 | -6.6901 | -20.8931 | -18.4391 | 57.3186 | 80.0954 | 101.0763 | 216.4709 | 346.5429 | 300.6811 | 335.8014 | 399.3964 | 358.4933 | 486.449 | 468.432 | 443.8645 | 591.2215 | 514.9572
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.021828 | -2.3454 | -2.6749 | -3.2743 | -6.6901 | -20.8931 | -18.4391 | 73.1947 | 96.0572 | 117.1246 | 232.6065 | 362.7669 | 316.9941 | 352.2045 | 415.8904 | 375.0792 | 503.1276 | 485.2042 | 460.7314 | 608.184 | 532.0161
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1832.035
PV total costs | 2019-07-01: 1100.5501
Net market benefit | 2019-07-01: 731.4848
Option 2: 750 MW in 2028 and 750 MW in 2031
Scenario: | 2019-07-01: High DER
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.036286 | -7.3093 | -4.3104 | -3.9056 | -21.1958 | -7.0018 | -12.7411 | 23.5318 | 35.2712 | 67.6392 | 100.4948 | 170.5361 | 134.1101 | 148.5224 | 163.8503 | 124.8102 | 171.405 | 149.6643 | 143.4704 | 171.8467 | 156.73
Market benefits (undiscounted) | 0 | 0 | -0.040701 | -8.6822 | -5.4222 | -5.2037 | -29.9062 | -10.4621 | -20.1609 | 39.4387 | 62.6015 | 127.1332 | 200.0321 | 359.5313 | 299.4179 | 351.1594 | 410.2566 | 330.9957 | 481.3842 | 445.1254 | 451.8794 | 573.2785 | 553.6976
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.040701 | -8.6822 | -5.4222 | -5.2037 | -29.9062 | -10.4621 | -20.1609 | 55.3148 | 78.5633 | 143.1815 | 216.1677 | 375.7553 | 315.7309 | 367.5625 | 426.7506 | 347.5816 | 498.0628 | 461.8977 | 468.7463 | 590.2409 | 570.7566
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1802.1211
PV total costs | 2019-07-01: 1100.5501
Net market benefit | 2019-07-01: 701.571
Option 2: 750 MW in 2028 and 750 MW in 2031
Scenario: | 2019-07-01: Fast Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.51205 | -0.45364 | -0.6616 | -28.0696 | -10.061 | -31.4273 | -11.0067 | 92.661 | 78.7484 | 76.1699 | 103.036 | 154.3402 | 140.2721 | 164.3995 | 170.3957 | 149.8474 | 150.2343 | 158.1508 | 137.4231 | 183.5309 | 165.1814
Market benefits (undiscounted) | 0 | 0 | -0.57434 | -0.53885 | -0.83224 | -37.3984 | -14.1956 | -46.9587 | -17.4165 | 155.2978 | 139.7674 | 143.1672 | 205.0902 | 325.3865 | 313.1753 | 388.6985 | 426.6451 | 397.3941 | 421.9272 | 470.3658 | 432.8326 | 612.2568 | 583.5545
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.57434 | -0.53885 | -0.83224 | -37.3984 | -14.1956 | -46.9587 | -17.4165 | 171.1739 | 155.7292 | 159.2155 | 221.2259 | 341.6104 | 329.4883 | 405.1016 | 443.1391 | 413.98 | 438.6058 | 487.1381 | 449.6995 | 629.2193 | 600.6135
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1938.9375
PV total costs | 2019-07-01: 1100.5501
Net market benefit | 2019-07-01: 838.3874
Option 2: 750 MW in 2028 and 750 MW in 2031
Scenario: | 2019-07-01: Step Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | 1.9812 | 1.026 | 1.0932 | 24.1659 | -4.7746 | 44.544 | 16.2058 | 105.4189 | 108.7379 | 112.1193 | 136.4485 | 204.5219 | 194.4261 | 206.1101 | 202.4392 | 177.2452 | 230.579 | 208.1349 | 221.2305 | 213.8997 | 213.6812
Market benefits (undiscounted) | 0 | 0 | 2.2222 | 1.2187 | 1.3752 | 32.1973 | -6.7368 | 66.5575 | 25.6433 | 176.6798 | 192.9946 | 210.7369 | 271.597 | 431.1816 | 434.0811 | 487.317 | 506.8774 | 470.053 | 647.572 | 619.0263 | 696.7952 | 713.5667 | 754.8954
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.8761 | 15.9618 | 16.0483 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | 2.2222 | 1.2187 | 1.3752 | 32.1973 | -6.7368 | 66.5575 | 25.6433 | 192.5559 | 208.9564 | 226.7852 | 287.7327 | 447.4055 | 450.3942 | 503.7201 | 523.3714 | 486.6389 | 664.2506 | 635.7986 | 713.6621 | 730.5292 | 771.9543
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 2715.9727
PV total costs | 2019-07-01: 1100.5501
Net market benefit | 2019-07-01: 1615.4226

## Option 3
Option 3 - Net Market Benefit evaluation
Option 3: 750 MW in 2031 and 750 MW in 2034
Discount rate= | 5.9% | (all scenarios, except slow)
| 7.9% | (Slow Change scenario)
All values shown are $ millions expressed in 2019 terms
Option 3: 750 MW in 2031 and 750 MW in 2034
Scenario: | Slow Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.92659 | 0.85875 | 0.79588 | 0.7376 | 0.68346 | 0.63342 | 0.58704 | 0.54406 | 0.50412 | 0.46721 | 0.433 | 0.4013 | 0.37184 | 0.34462 | 0.31939 | 0.296 | 0.27427 | 0.25419 | 0.23558 | 0.21833 | 0.20231 | 0.18749
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | 0.0037442 | 0.058127 | -0.012132 | -0.062757 | -0.0374 | -0.058772 | -0.05304 | -0.062686 | -0.037085 | 1.2638 | 35.1463 | 79.9065 | 33.8689 | 45.682 | 56.4829 | 57.5773 | 85.4658 | 89.3218 | 85.2678 | 75.0413 | 85.7936
Market benefits (undiscounted) | 0 | 0 | 0.00436 | 0.073036 | -0.016447 | -0.091823 | -0.059044 | -0.10012 | -0.097489 | -0.12435 | -0.079374 | 2.9186 | 87.5807 | 214.8931 | 98.2796 | 143.0306 | 190.819 | 209.9271 | 336.2256 | 379.1555 | 390.5405 | 370.9311 | 457.5828
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | 0.00436 | 0.073036 | -0.016447 | -0.091823 | -0.059044 | -0.10012 | -0.097489 | -0.12435 | -0.079374 | 2.9186 | 103.7164 | 231.117 | 114.5926 | 159.4337 | 207.313 | 226.5129 | 352.9042 | 395.9278 | 407.4074 | 387.8936 | 474.6418
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132.5919 | 132.5919 | 132.5919 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838
PV total benefits | 2019-07-01: 781.8594
PV total costs | 2019-07-01: 675.2765
Net market benefit | 2019-07-01: 106.5829
Option 3: 750 MW in 2031 and 750 MW in 2034
Scenario: | 2019-07-01: Central
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.0029999 | -0.85084 | -0.30818 | -1.9631 | -5.4767 | -7.2786 | -11.2532 | -3.0562 | -4.2411 | -5.4675 | 79.4793 | 136.708 | 118.9707 | 149.0102 | 164.0531 | 140.8954 | 177.7574 | 162.6582 | 144.2162 | 181.175 | 148.3391
Market benefits (undiscounted) | 0 | 0 | -0.0033648 | -1.0107 | -0.38766 | -2.6155 | -7.7273 | -10.8756 | -17.8066 | -5.1222 | -7.5273 | -10.2767 | 158.2013 | 288.2134 | 265.6172 | 352.3127 | 410.7643 | 373.6535 | 499.2245 | 483.7714 | 454.2284 | 604.3976 | 524.0539
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.0033648 | -1.0107 | -0.38766 | -2.6155 | -7.7273 | -10.8756 | -17.8066 | -5.1222 | -7.5273 | -10.2767 | 174.337 | 304.4374 | 281.9302 | 368.7157 | 427.2583 | 390.2394 | 515.9031 | 500.5436 | 471.0952 | 621.3601 | 541.1129
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1633.0985
PV total costs | 2019-07-01: 761.785
Net market benefit | 2019-07-01: 871.3135
Option 3: 750 MW in 2031 and 750 MW in 2034
Scenario: | 2019-07-01: High DER
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.00066757 | -1.1649 | -0.32165 | -0.29211 | -23.5334 | -7.4332 | -12.7061 | -8.3189 | -11.8408 | -0.35884 | 79.7632 | 141.7071 | 120.273 | 158.8767 | 169.3379 | 129.7319 | 176.7992 | 156.5865 | 147.8869 | 176.4315 | 157.2857
Market benefits (undiscounted) | 0 | 0 | -0.00074879 | -1.3837 | -0.40461 | -0.38919 | -33.2044 | -11.1067 | -20.1056 | -13.9424 | -21.0158 | -0.67447 | 158.7664 | 298.7527 | 268.5248 | 375.6406 | 423.9965 | 344.048 | 496.5334 | 465.7131 | 465.7898 | 588.5733 | 555.6606
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.00074879 | -1.3837 | -0.40461 | -0.38919 | -33.2044 | -11.1067 | -20.1056 | -13.9424 | -21.0158 | -0.67447 | 174.902 | 314.9767 | 284.8379 | 392.0437 | 440.4905 | 360.6339 | 513.212 | 482.4854 | 482.6567 | 605.5358 | 572.7195
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1618.4433
PV total costs | 2019-07-01: 761.785
Net market benefit | 2019-07-01: 856.6583
Option 3: 750 MW in 2031 and 750 MW in 2034
Scenario: | 2019-07-01: Fast Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.37977 | -0.34238 | -0.52532 | -16.4136 | 3.4171 | -6.462 | -2.4746 | 27.8702 | -0.4465 | 5.2487 | 85.1204 | 135.7698 | 125.8172 | 146.6116 | 160.6968 | 136.5897 | 150.3378 | 158.7438 | 137.026 | 185.5947 | 166.2001
Market benefits (undiscounted) | 0 | 0 | -0.42597 | -0.40669 | -0.66081 | -21.8686 | 4.8214 | -9.6555 | -3.9157 | 46.7098 | -0.79248 | 9.8653 | 169.4299 | 286.2355 | 280.903 | 346.6414 | 402.3607 | 362.2349 | 422.2178 | 472.1295 | 431.5819 | 619.1416 | 587.1533
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.42597 | -0.40669 | -0.66081 | -21.8686 | 4.8214 | -9.6555 | -3.9157 | 46.7098 | -0.79248 | 9.8653 | 185.5655 | 302.4595 | 297.2161 | 363.0445 | 418.8547 | 378.8207 | 438.8964 | 488.9018 | 448.4488 | 636.1041 | 604.2123
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1667.7342
PV total costs | 2019-07-01: 761.785
Net market benefit | 2019-07-01: 905.9492
Option 3: 750 MW in 2031 and 750 MW in 2034
Scenario: | 2019-07-01: Step Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | 1.776 | 0.934 | 0.87527 | 19.1244 | 19.7592 | 49.0258 | 17.4055 | 30.733 | 26.568 | 19.0411 | 123.182 | 164.7566 | 178.1344 | 183.8751 | 190.6516 | 158.1668 | 234.1855 | 210.1322 | 219.9847 | 214.6677 | 210.8478
Market benefits (undiscounted) | 0 | 0 | 1.992 | 1.1094 | 1.101 | 25.4803 | 27.8793 | 73.2542 | 27.5417 | 51.5079 | 47.1544 | 35.7892 | 245.1905 | 347.3466 | 397.7078 | 434.7456 | 477.363 | 419.4573 | 657.7008 | 624.9667 | 692.8715 | 716.1288 | 744.8855
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.1357 | 16.2239 | 16.3131 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | 1.992 | 1.1094 | 1.101 | 25.4803 | 27.8793 | 73.2542 | 27.5417 | 51.5079 | 47.1544 | 35.7892 | 261.3261 | 363.5705 | 414.0208 | 451.1487 | 493.857 | 436.0432 | 674.3794 | 641.739 | 709.7383 | 733.0913 | 761.9444
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 2343.5612
PV total costs | 2019-07-01: 761.785
Net market benefit | 2019-07-01: 1581.7762

## Option 4
Option 4 - Net Market Benefit evaluation
Option 4: 750 MW in 2034 and 750 MW in 2037
Discount rate= | 5.9% | (all scenarios, except slow)
| 7.9% | (Slow Change scenario)
All values shown are $ millions expressed in 2019 terms
Option 4: 750 MW in 2034 and 750 MW in 2037
Scenario: | Slow Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.92659 | 0.85875 | 0.79588 | 0.7376 | 0.68346 | 0.63342 | 0.58704 | 0.54406 | 0.50412 | 0.46721 | 0.433 | 0.4013 | 0.37184 | 0.34462 | 0.31939 | 0.296 | 0.27427 | 0.25419 | 0.23558 | 0.21833 | 0.20231 | 0.18749
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | 0.0014846 | 0.030936 | -0.0060373 | -0.023099 | -0.0041787 | -0.0074591 | -0.0060009 | -0.0091215 | -0.033729 | -0.51867 | 14.8479 | 21.7121 | -3.2814 | 30.0056 | 38.4531 | 41.7727 | 90.9018 | 89.3871 | 88.9659 | 78.1761 | 89.2755
Market benefits (undiscounted) | 0 | 0 | 0.0017288 | 0.038871 | -0.008185 | -0.033798 | -0.0065971 | -0.012706 | -0.01103 | -0.018094 | -0.072193 | -1.1978 | 36.9994 | 58.3904 | -9.5217 | 93.9475 | 129.9083 | 152.3035 | 357.6111 | 379.4327 | 407.4788 | 386.4265 | 476.1534
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | 0.0017288 | 0.038871 | -0.008185 | -0.033798 | -0.0065971 | -0.012706 | -0.01103 | -0.018094 | -0.072193 | -1.1978 | 36.9994 | 58.3904 | -9.5217 | 110.3506 | 146.4023 | 168.8893 | 374.2897 | 396.205 | 424.3457 | 403.389 | 493.2124
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132.5919 | 132.5919 | 132.5919 | 265.1838 | 265.1838 | 265.1838 | 265.1838 | 265.1838
PV total benefits | 2019-07-01: 612.8144
PV total costs | 2019-07-01: 409.1082
Net market benefit | 2019-07-01: 203.7061
Option 4: 750 MW in 2034 and 750 MW in 2037
Scenario: | 2019-07-01: Central
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | 1.8318e-05 | -0.10464 | -0.0020309 | -0.24097 | -2.8866 | -5.0064 | -2.9236 | -0.79917 | -2.6293 | -2.0068 | -4.0804 | -6.1355 | -4.2435 | 115.6344 | 128.4192 | 111.6966 | 193.5673 | 173.3966 | 157.0016 | 185.2088 | 172.4284
Market benefits (undiscounted) | 0 | 0 | 2.0546e-05 | -0.1243 | -0.0025547 | -0.32106 | -4.0729 | -7.4805 | -4.6262 | -1.3394 | -4.6666 | -3.7719 | -8.1219 | -12.935 | -9.4742 | 273.4004 | 321.5425 | 296.2186 | 543.6261 | 515.7092 | 494.4979 | 617.8543 | 609.1567
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | 2.0546e-05 | -0.1243 | -0.0025547 | -0.32106 | -4.0729 | -7.4805 | -4.6262 | -1.3394 | -4.6666 | -3.7719 | -8.1219 | -12.935 | -9.4742 | 289.8035 | 338.0365 | 312.8045 | 560.3047 | 532.4815 | 511.3648 | 634.8167 | 626.2157
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1252.92
PV total costs | 2019-07-01: 476.5742
Net market benefit | 2019-07-01: 776.3458
Option 4: 750 MW in 2034 and 750 MW in 2037
Scenario: | 2019-07-01: High DER
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.00071427 | -1.3667 | -0.41228 | 0.70289 | -3.363 | -4.3109 | -4.4357 | -3.2088 | -5.6103 | -2.1169 | 1.3127 | -4.67 | -11.2295 | 119.0551 | 134.0337 | 102.8923 | 191.5876 | 166.6964 | 160.4019 | 181.435 | 170.6397
Market benefits (undiscounted) | 0 | 0 | -0.00080116 | -1.6234 | -0.51861 | 0.9365 | -4.745 | -6.4414 | -7.0188 | -5.3779 | -9.9575 | -3.9788 | 2.6129 | -9.8454 | -25.0712 | 281.4882 | 335.6001 | 272.8696 | 538.0661 | 495.7818 | 505.2076 | 605.2647 | 602.8377
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.00080116 | -1.6234 | -0.51861 | 0.9365 | -4.745 | -6.4414 | -7.0188 | -5.3779 | -9.9575 | -3.9788 | 2.6129 | -9.8454 | -25.0712 | 297.8913 | 352.0941 | 289.4554 | 554.7447 | 512.5541 | 522.0745 | 622.2272 | 619.8966
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1234.6583
PV total costs | 2019-07-01: 476.5742
Net market benefit | 2019-07-01: 758.0842
Option 4: 750 MW in 2034 and 750 MW in 2037
Scenario: | 2019-07-01: Fast Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.2355 | -0.172 | -0.37689 | -7.8203 | 1.8443 | -3.107 | 0.61963 | 19.8443 | 7.1975 | 9.0013 | 14.7709 | 2.3191 | 16.4788 | 108.1268 | 136.2161 | 124.3297 | 167.4913 | 170.4603 | 146.9584 | 183.6301 | 160.6333
Market benefits (undiscounted) | 0 | 0 | -0.26416 | -0.2043 | -0.4741 | -10.4194 | 2.6022 | -4.6425 | 0.98048 | 33.2587 | 12.7745 | 16.9187 | 29.4012 | 4.8892 | 36.791 | 255.6499 | 341.0645 | 329.7215 | 470.3927 | 506.9761 | 462.8654 | 612.5878 | 567.4872
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.26416 | -0.2043 | -0.4741 | -10.4194 | 2.6022 | -4.6425 | 0.98048 | 33.2587 | 12.7745 | 16.9187 | 29.4012 | 4.8892 | 36.791 | 272.053 | 357.5585 | 346.3074 | 487.0713 | 523.7484 | 479.7323 | 629.5502 | 584.5462
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1304.8361
PV total costs | 2019-07-01: 476.5742
Net market benefit | 2019-07-01: 828.2619
Option 4: 750 MW in 2034 and 750 MW in 2037
Scenario: | 2019-07-01: Step Change
t= | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Discount factor | 1 | 0.94414 | 0.89154 | 0.84187 | 0.79496 | 0.75056 | 0.70874 | 0.66926 | 0.63197 | 0.59667 | 0.56342 | 0.53203 | 0.50239 | 0.47433 | 0.4479 | 0.42295 | 0.39939 | 0.37707 | 0.35607 | 0.33623 | 0.3175 | 0.29976 | 0.28306
Year commencing | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01
Period | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42
Market benefits (PV at 2019) | 0 | 0 | -0.10963 | -0.075249 | -0.066474 | -4.1615 | -27.4932 | 4.0107 | -7.0665 | 4.0813 | 1.2482 | -4.231 | -3.5941 | 31.4311 | 56.1726 | 155.32 | 154.7279 | 149.9479 | 265.3424 | 250.806 | 245.755 | 228.9773 | 237.6832
Market benefits (undiscounted) | 0 | 0 | -0.12296 | -0.089384 | -0.083619 | -5.5445 | -38.7916 | 5.9929 | -11.1818 | 6.8402 | 2.2154 | -7.9525 | -7.1539 | 66.2644 | 125.4124 | 367.2312 | 387.4154 | 397.6608 | 745.2038 | 745.9372 | 774.0386 | 763.8653 | 839.6896
FCAS benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.4031 | 16.494 | 16.5858 | 16.6786 | 16.7723 | 16.8669 | 16.9625 | 17.059
Total benefits | 0 | 0 | -0.12296 | -0.089384 | -0.083619 | -5.5445 | -38.7916 | 5.9929 | -11.1818 | 6.8402 | 2.2154 | -7.9525 | -7.1539 | 66.2644 | 125.4124 | 383.6343 | 403.9094 | 414.2467 | 761.8824 | 762.7095 | 790.9055 | 780.8277 | 856.7486
Total annualised costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6918 | 108.6918 | 108.6918 | 217.3835 | 217.3835 | 217.3835 | 217.3835 | 217.3835
PV total benefits | 2019-07-01: 1785.332
PV total costs | 2019-07-01: 476.5742
Net market benefit | 2019-07-01: 1308.7578